## Issue 8 26 July 2021
FULL RETENTION GREASE TRAPS
GLASSFIBRE (GRP) CONSTRUCTION
PRODUCT CODE | COOKED MEALS / DAY | CAPACITY LITRES | LENGTH mm | DIAMETER mm | INLET INVERT mm | OUTLET INVERT mm | ACCESS'S DIAMETER mm | PIPEWORK DIAMETER mm
BDGT 9-6-60 | 60 | 900 | 1710 | 864 | 600 | 650 | 300 | 110
BDGT 15-6-100 | 100 | 1500 | 2800 | 864 | 600 | 650 | 300 | 110
BDGT 20-6-135 | 135 | 2000 | 2050 | 1200 | 600 | 650 | 300 | 110
BDGT 25-6-170 | 170 | 2500 | 2500 | 1200 | 600 | 650 | 600 | 160
BDGT 30-6-200 | 200 | 3000 | 2930 | 1200 | 600 | 650 | 600 | 160
BDGT 40-6-270 | 270 | 4000 | 3250 | 1200 | 600 | 650 | 600 | 160
BDGT 60-6-400 | 400 | 6000 | 2620 | 1800 | 600 | 650 | 600 | 160
Application
‘Grease Traps’ are required where a Burnham Environmental Biodigester wastewater/sewage treatment plant is in use and there is a ‘Communal Kitchen’ such as at Hotels, Pubs, Leisure Facilities, some Schools and Care Homes.
Biodigester 'Full Retention Grease Traps' are fitted to the kitchen drainage only and hold the waste for 24 hours to allow cooling and separation of grease, fats and oils. Installation is normally external.
Maintenance
Emptying is normally required only once per year.
Options
1. Alternative Orientations / Directions for ‘Inlet’ and ‘Outlet’ pipes.
2. Alternative Inlet Inverts / Drain Depths.
3. Larger grease traps.

## Sheet1
Burnham Environmental Services Ltd OP6 Email: sales@biodigester.com UK Tel: +44 (0) 1278 786104
GREASE TRAPS
GLASSFIBRE (GRP) CONSTRUCTION
PRODUCT CODE | COOKED MEALS / DAY | CAPACITY LITRES | LENGTH 'A' mm | DIAMETER 'B' mm | INLET INVERT 'C' mm | OUTLET INVERT 'D' mm | ACCESS'S DIAMETER 'E' mm | PIPEWORK DIAMETER mm | PRICE EX-WORKS, EX. VAT
BDGT 9-6-60 | 60 | 900 | 1710 | 864 | 600 | 650 | 300 | 110 | 695
BDGT 15-6-100 | 100 | 1500 | 2800 | 864 | 600 | 650 | 300 | 110 | 995
BDGT 20-6-135 | 135 | 2000 | 2050 | 1200 | 600 | 650 | 300 | 110 | 1130
BDGT 25-6-170 | 170 | 2500 | 2500 | 1200 | 600 | 650 | 600 | 160 | 1172
BDGT 30-6-200 | 200 | 3000 | 2930 | 1200 | 600 | 650 | 600 | 160 | 1210
BDGT 40-6-270 | 270 | 4000 | 3250 | 1200 | 600 | 650 | 600 | 160 | 1285
BDGT 60-6-400 | 400 | 6000 | 2620 | 1800 | 600 | 650 | 600 | 160 | 1465
Application
‘Grease Traps’ are required where a Burnham Environmental Biodigester wastewater/sewage treatment plant is in use and there is a ‘Communal Kitchen’ such as at Hotels, Pubs, Leisure Facilities, Schools and Care Homes.
Biodigester ‘Full Retention Grease Traps’ are fitted to the kitchen drainage only and hold the waste for 24 hrs to allow cooling and separation of grease, fat and oils.
Maintenance
Emptying is normally required only once per year.
Options
1. Alternative Orientations / Directions for ‘Inlet’ and ‘Outlet’ pipes.
2. Alternative Inlet Inverts / Drain Depths.
3. Larger grease traps. | [8 empty] | Issue 7